## Slide 1: Theory and implementation of optimisation methods for optimizations in distribution power system – PART 2
Marinko Barukčić, PhD.
Faculty of Electrical Engineering, Computer Science and Information Technology Osijek
JOSIP JURAJ STROSSMAYER UNIVERSITY OF OSIJEK
Faculty of Electrical Engineering, Computer Science and
Information Technology Osijek, April 2019, Osijek
Workshop – day 3:

## Slide 2: PART 2: optimization by simulation tools
Faculty of Electrical Engineering, Computer Science and
Information Technology Osijek, April 2019, Osijek
Workshop working simulation tools: OpenDSS
  Optimization problem – analytic OF
  Exercise 1:
  Find optimal powers of the generating units such that power (energy) production cost is as low as possible (unit commitment problem).
  System data (T expl.):
    4 power sources
    total system load

## Slide 3
Faculty of Electrical Engineering, Computer Science and
Information Technology Osijek, April 2019, Osijek
Workshop working simulation tools: OpenDSS
  Optimization problem – analytic OF
  Exercise 1:
  Production cost functions:
  Total load: 2500 kW
Unit/ Coefficient | 0 | 1 | 2 | 3
a [EUR/kW2] | 3e-4 | 2e-4 | 8e-4 | 1e-4
b [EUR/kW] | 0.02 | 0.015 | 0.024 | 0.018
c [EUR] | 7 | 5 | 4 | 7
PART 2: optimization by simulation tools

## Slide 4: PART 2: optimization by simulation tools
Faculty of Electrical Engineering, Computer Science and
Information Technology Osijek, April 2019, Osijek
Workshop working simulation tools: OpenDSS
  Specific tasks (T expl.):
    Formulate the optimization problem
    Coding decision variables in the method individual
    Defining ranges (limits) of the decision variables-box constraints
    Coding the problem in the specific optimization tool

## Slide 5: PART 2: optimization by simulation tools
Faculty of Electrical Engineering, Computer Science and
Information Technology Osijek, April 2019, Osijek
Workshop working simulation tools: OpenDSS
  Using simulation tool

## Slide 6: PART 2: optimization by simulation tools
Faculty of Electrical Engineering, Computer Science and
Information Technology Osijek, April 2019, Osijek
Workshop working simulation tools: OpenDSS
  Using simulation tool

## Slide 7: PART 2: optimization by simulation tools
Faculty of Electrical Engineering, Computer Science and
Information Technology Osijek, April 2019, Osijek
Workshop working simulation tools: OpenDSS
  Using simulation tool

## Slide 8: PART 2: optimization by simulation tools
Faculty of Electrical Engineering, Computer Science and
Information Technology Osijek, April 2019, Osijek
Workshop working simulation tools: OpenDSS
  Using simulation tool:
    Needed PY packages
    DE individual code
    Objective function and constraints
    DE syntax
    View solution

## Slide 9: PART 2: optimization by simulation tools
Faculty of Electrical Engineering, Computer Science and
Information Technology Osijek, April 2019, Osijek
Workshop working simulation tools: OpenDSS
  OpenDSS (features):
  Unbalanced power flow
  Models of renewable sources
  Models of storage
  Interface to other tools via COM (MATLAB, VB for App., Python (recently PY package - https://github.com/dss-extensions/OpenDSSDirect.py )

## Slide 10: PART 2: optimization by simulation tools
Faculty of Electrical Engineering, Computer Science and
Information Technology Osijek, April 2019, Osijek
Workshop working simulation tools: OpenDSS
  OpenDSS script: txt file written in any text editor or built-in user interface.

## Slide 11: PART 2: optimization by simulation tools
Faculty of Electrical Engineering, Computer Science and
Information Technology Osijek, April 2019, Osijek
Workshop working simulation tools: OpenDSS
  OpenDSS script (execute script):
  1. Select text, CTRL+A
  2. Rigth click + Do selected or menu Do>Selected Line(s) or click on the icon

## Slide 12: PART 2: optimization by simulation tools
Faculty of Electrical Engineering, Computer Science and
Information Technology Osijek, April 2019, Osijek
Workshop working simulation tools: OpenDSS
  OpenDSS script:
  New circuit.SomeName basekv=115 pu=1.0 phases=3
  ~ bus1=SourceBus Angle=30
  ~ MVAsc3=20000 MVASC1=21000
  Set DefaultBaseFrequency=50
  New element.name Bus1=Name Par1=value Par2=value …
  Command verb Object (class) – network element

## Slide 13: PART 2: optimization by simulation tools
Faculty of Electrical Engineering, Computer Science and
Information Technology Osijek, April 2019, Osijek
Making OpenDSS script - Example
  Exercise 2:

## Slide 14: PART 2: optimization by simulation tools
Faculty of Electrical Engineering, Computer Science and
Information Technology Osijek, April 2019, Osijek
Making OpenDSS script - Example
  Exercise 2:
  Start
    clear
  External network (slack node)
    New circuit.TestNet basekv=11 pu=1.0 phases=3 bus1=SourceBus Angle=0
  Lines
    New line.L1 bus1=SourceBus bus2=B2 R1=0.117 X1=0.048 Phases=3

## Slide 15: PART 2: optimization by simulation tools
Faculty of Electrical Engineering, Computer Science and
Information Technology Osijek, April 2019, Osijek
Making OpenDSS script - Example
  Exercise 2:
  Loads
    New load.LD1 bus1=B2 kv=11 kw=230 kvar=142.5 model=1 Phases=3 conn=wye
  Voltages for p.u.
    Set voltagebases=[11]
  Bus list construction
    Calcv

## Slide 16: PART 2: optimization by simulation tools
Faculty of Electrical Engineering, Computer Science and
Information Technology Osijek, April 2019, Osijek
Making OpenDSS script - Example
  Exercise 2:
  Power flow calculation
    Solve
  Show some results
    Show voltages
  Save DSS script under some filename.
  Brief overview of OpenDSS scripting:
  https://sourceforge.net/p/electricdss/code/HEAD/tree/trunk/Distrib/Doc/OpenDSS%20Cheatsheet.pdf

## Slide 17: PART 2: optimization by simulation tools
Faculty of Electrical Engineering, Computer Science and
Information Technology Osijek, April 2019, Osijek
2019-03-30
17
Faculty of Electrical Engineering, Computer Science and
Information Technology Osijek, April 2019, Osijek
Coffee break – 15 min